|  |  |
| --- | --- |
| **institute** | **Uma Nath Singh Institute of Engineering & Technology, VBS Purvanchal UniversityJaunpur,,VBS Purvanchal University Campus, Shahganj Road, Jaunpur, UP pin-222003** |

**INVITATION LETTER**

|  |  |
| --- | --- |
| **Package Code: TEQIP-III/2019/UP/uiej/110** | **Current Date: 31-Dec-2019** |
| **Package Name: Physics Research Equipment** | **Method: Shopping Goods** |

To,

**------------------------------------------------**

**------------------------------------------------**

**Sub: INVITATION LETTER FOR Physics Research Equipment**

Dear Sir,

|  |  |
| --- | --- |
| **1.** | You are invited to submit your most competitive quotation for the following goods with item wise detailed specifications given at Annexure I, |

|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sr. No** | **Item Name** | **Quantity** | **Place of Delivery** | **Installation Requirement (if any)** |
| 1 | magnatic stirrer | 3 | Jaunpur |  |
| 2 | Beaker 1 | 20 | Jaunpur |  |
| 3 | Beaker 2 | 20 | Jaunpur |  |
| 4 | Beaker 3 | 10 | Jaunpur |  |
| 5 | Measuring cylinder 1 | 6 | Jaunpur |  |
| 6 | Measuring cylinder 2 | 6 | Jaunpur |  |
| 7 | Measuring cylinder 3 | 4 | Jaunpur |  |
| 8 | Magnetic Beads | 20 | Jaunpur |  |
| 9 | Digital Weighing Machine with Glass Box Cover | 1 | Jaunpur |  |
| 10 | Crucibles | 4 | Jaunpur |  |
| 11 | Specula | 6 | Jaunpur |  |
| 12 | Teaser | 6 | Jaunpur |  |
| 13 | Al-foil | 4 | Jaunpur |  |
| 14 | Mouth Mask (Box) | 1 | Jaunpur |  |
| 15 | Dropper-2 ml  | 10 | Jaunpur |  |
| 16 | Dropper-10 ml | 6 | Jaunpur |  |
| 17 | Tissue Roll | 10 | Jaunpur |  |
| 18 | Desiccators | 1 | Jaunpur |  |
| 19 | Hot Air Oven (digital) | 1 | Jaunpur |  |
| 20 | TEM Grid | 1 | Jaunpur |  |
| 21 | MAC Muffle Furnace (CAT No. MSW-251) | 1 | Jaunpur |  |
| 22 | Acetone | 6 | Jaunpur |  |
| 23 | Chloroauric acid -1gm | 2 | Jaunpur |  |
| 24 | Cobalt Acetate | 2 | Jaunpur |  |
| 25 | Distilled Water | 10 | Jaunpur |  |
| 26 | Ethylene Glycol | 2 | Jaunpur |  |
| 27 | Pure Silicon Oil-500 ml | 1 | Jaunpur |  |
| 28 | Sulphuric acid | 10 | Jaunpur |  |
| 29 | Hydrochloric Acid | 10 | Jaunpur |  |
| 30 | Nitric Acid | 2 | Jaunpur |  |
| 31 | Titanium Isopropoxide-500ml | 1 | Jaunpur |  |
| 32 | Silver Nitrate | 1 | Jaunpur |  |
| 33 | Tri sodium citrate | 1 | Jaunpur |  |
| 34 | Chloroplatanic acid hydrate1gm | 1 | Jaunpur |  |
| 35 | Ethylene Glycol | 2 | Jaunpur |  |
| 36 | Palladium(II) Chloride anhydrous | 1 | Jaunpur |  |
| 37 | Iron Nitrate | 1 | Jaunpur |  |
| 38 | Copper Sulphate | 1 | Jaunpur |  |
| 39 | Iron Sulfate | 1 | Jaunpur |  |
| 40 | Iron acetate | 1 | Jaunpur |  |
| 41 | Magnesium Acetate | 1 | Jaunpur |  |
| 42 | Calcium Acetate | 1 | Jaunpur |  |
| 43 | Calcium Sulfate | 1 | Jaunpur |  |
| 44 | Magnesium Sulfate | 1 | Jaunpur |  |

|  |  |
| --- | --- |
| **2.** | Government of India has received a credit from the International Development Association (IDA) towards the cost of the **Technical Education Quality Improvement Programme [TEQIP]-Phase III** Project and intends to apply part of the proceeds of this credit to eligible payments under the contract for which this invitation for quotations is issued. |
| **3.** | **Quotation** |
|  | 3.1 | The contract shall be for the full quantity as described above. |
|  | 3.2 | Corrections, if any, shall be made by crossing out, initialling, dating and re writing. |
|  | 3.3 | All duties and other levies payable by the supplier under the contract shall be included in the unit Price. |
|  | 3.4 | Applicable taxes shall be quoted separately for all items. |
|  | 3.5 | The prices quoted by the bidder shall be fixed for the duration of the contract and shall not be subject to adjustment on any account. |
|  | 3.6 | The Prices should be quoted in Indian Rupees only. |
| **4.** | Each bidder shall submit only one quotation. |
| **5.** | Quotation shall remain valid for a period not less than **45**days after the last date of quotation submission. |
| **6.** | Evaluation of Quotations: The Purchaser will evaluate and compare the quotations determined to be Substantially responsive i.e. which |
|  | 6.1 | are properly signed; and |
|  | 6.2 | Confirm to the terms and conditions, and specifications. |
| **7.** | The Quotations would be evaluated for all items together. |
| **8.** | Award of contract The Purchaser will award the contract to the bidder whose quotation has been determined to be substantially responsive and who has offered the lowest evaluated quotation price. |
|  | 8.1 | Notwithstanding the above, the Purchaser reserves the right to accept or reject any quotations and to cancel the bidding process and reject all quotations at any time prior to the award of Contract. |
|  | *8.2* | *The bidder whose bid is accepted will be notified of the award of contract by the Purchaser prior to expiration of the quotation validity period. The terms of the accepted offer shall be Incorporated in the purchase order.* |
| **9.** | Payment shall be made in Indian Rupees as follows: |

|  |  |  |
| --- | --- | --- |
| **Payment Description** | **Expected Delivery Period (in Days)** | **Payment Percentage** |
| Satisfactory Acceptance | 60 | 100 |

|  |  |  |
| --- | --- | --- |
| **10.** | Liquidated Damages will be applied as per the below:Liquidated Damages Per Day Min %:0.01Liquidated Damages Max %:10 |  |
| **11.** | All supplied items are under warranty of **N/A** months from the date of successful acceptance of items and AMC/Others is **no.** |  |
| **12.** | You are requested to provide your offer latest by **13:00** hours on **15-Jan-2020.** |  |
| **13.** | Detailed specifications of the items are at Annexure I. |
| **14.** | Training Clause (if any)  |
| **15.** | Testing/Installation Clause (if any)  |
| **16.** | Performance Security shall be applicable**: 0%** |
| **17.** | Information brochures/ Product catalogue, if any must be accompanied with the quotation clearly indicating the model quoted for. |
| **18.** | Sealed quotation to be submitted/ delivered at the address mentioned below**Dr. Rajnish Bhasker (Nodal Officer- Procurement)** **Uma Nath Singh Institute of Engineering & Technology, VBS Purvanchal UniversityJaunpur,,VBS Purvanchal University Campus, Shahganj Road, Jaunpur, UP pin-222003** |
|  | **19.** | We look forward to receiving your quotation and thank you for your interest in this project. |

 (Authorized Signatory)

 Name & Designation

**Annexure I**

|  |  |  |
| --- | --- | --- |
| **Sr. No** | **Item Name** | **Specifications** |
| 1 | magnatic stirrer | Normal Size |
| 2 | Beaker 1 | 50 ml |
| 3 | Beaker 2 | 100 ml |
| 4 | Beaker 3 | 500 ml |
| 5 | Measuring cylinder 1 | 10 ml |
| 6 | Measuring cylinder 2 | 50 ml |
| 7 | Measuring cylinder 3 | 100 ml |
| 8 | Magnetic Beads | Magnetic Beads |
| 9 | Digital Weighing Machine with Glass Box Cover | Digital Weighing Machine with Glass Box Cover |
| 10 | Crucibles | Crucibles |
| 11 | Specula | Specula |
| 12 | Teaser | Teaser |
| 13 | Al-foil | Al-foil |
| 14 | Mouth Mask (Box) | Mouth Mask (Box) |
| 15 | Dropper-2 ml  | Dropper-2 ml |
| 16 | Dropper-10 ml | Dropper-10 ml |
| 17 | Tissue Roll | tissue roll |
| 18 | Desiccators | Desiccators |
| 19 | Hot Air Oven (digital) | digital hot air oven |
| 20 | TEM Grid | TEM Grid |
| 21 | MAC Muffle Furnace (CAT No. MSW-251) | MAC Muffle Furnace (CAT No. MSW-251) |
| 22 | Acetone | 2.5 lit |
| 23 | Chloroauric acid -1gm | 1 gm |
| 24 | Cobalt Acetate | Cobalt Acetate |
| 25 | Distilled Water | 5 lit |
| 26 | Ethylene Glycol | 500 ml |
| 27 | Pure Silicon Oil-500 ml | 500 ml |
| 28 | Sulphuric acid | 500 ml |
| 29 | Hydrochloric Acid | 500 ml |
| 30 | Nitric Acid | 2.5 lit |
| 31 | Titanium Isopropoxide-500ml | 500 ml |
| 32 | Silver Nitrate | 25 gm |
| 33 | Tri sodium citrate | 500gm |
| 34 | Chloroplatanic acid hydrate1gm | 1 gm |
| 35 | Ethylene Glycol | Ethylene Glycol |
| 36 | Palladium(II) Chloride anhydrous | Palladium(II) Chloride anhydrous |
| 37 | Iron Nitrate | Iron Nitrate |
| 38 | Copper Sulphate | Copper sulfate |
| 39 | Iron Sulfate | Iron Sulfate |
| 40 | Iron acetate | Iron acetate |
| 41 | Magnesium Acetate | Magnesium Acetate |
| 42 | Calcium Acetate | Calcium Acetate |
| 43 | Calcium Sulfate | Calcium Sulfate |
| 44 | Magnesium Sulfate | Magnesium Sulfate |

**FORMAT FOR QUOTATION SUBMISSION**

(In letterhead of the supplier with seal)

Date: \_\_\_\_\_\_\_\_\_\_\_\_\_

To:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

 \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

|  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  Sl. No. |  Description of goods \ (with full Specifications) | Qty. | Unit |  Quoted Unit rate in Rs.(Including Ex-Factory price,excise duty, packing and forwarding, transportation, insurance, other local costs incidental to delivery andwarranty/ guaranty commitments) | Total Price (A) | Sales tax and other taxes payable |
| In % | In figures (B) |
|  |  |  |  |  |  |  |  |
| **Total Cost** |  |  |  |

Gross Total Cost (A+B): Rs. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

We agree to supply the above goods in accordance with the technical specifications for a total contract price of Rs. ———————— (Amount in figures) (Rupees ————————amount in words) within the period specified in the Invitation for Quotations.

We confirm that the normal commercial warranty/ guarantee of ——————— months shall apply to the offered items and we also confirm to agree with terms and conditions as mentioned in the Invitation Letter.

We hereby certify that we have taken steps to ensure that no person acting for us or on our behalf will engage in bribery.

Signature of Supplier

Name: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Address: \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

Contact No. \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_