## Sheet1
Name of Teacher | Name of Subject | Name of Topic | Name of Sub-Topic | Types of E-Content (PDF,Video etc.) | Name of Coursework | Year of Coursework | link (if uploaded any where) | References
Dr. Hemant Kumar Singh | REFRIGERATION & AIR CONDITIONING | Air Conditioning | Introduction to air conditioning, Psychometric properties and their definitions, Psychometric chart, Different Psychometric processes, Thermal analysis of human body, Effective temperature and comfort chart, Cooling and heating load calculations, Selection of inside & outside design conditions, Heat transfer through walls & roofs, Infiltration & ventilation, Internal heat gain, Sensible heat factor ( SHF), By pass factor, Grand Sensible heat factor ( GSHF), Apparatus dew point (ADP). Air Washers, Cooling towers & humidifying efficiency. | PDF | Mechanical Engineering (REFRIGERATION & AIR CONDITIONING) | Mechanical Engg. III rd Year | On Whatsapp group of students and mailed to the student class coordinator | Refrigeration and Air Conditioning Book by C. P. Arora, TMH Publications